# Meter Installation Procedure

## Contents

1. Site Preparation

2. Installation Procedure

3. Precaution

4. Local Pre-commissioning

5. Final Commissioning

## Installation Procedure

### a) Disconnection of the old Meter (ELSTER)

Taking meter Readings

Identify the cable

Disconnection from all power sources of supply

Dis-mounting the old Meter

Power sources:

Current source

Voltage source

Auxiliary supply

### b) Installation of the new Meter (Landis + GYR E650)

Mounting of the New Meter

Re-connecting the Current, VT and Auxiliary Cables

Powering of the Meter for Configuration

### c) Configuration

CT Ratio

VT Ratio

Date & Time

### d) Local Commissioning

### e) Final Commissioning